## Slide 1
UPS shed
480V supply panel
old transformer
new existing concrete pad

## Slide 2
Old AC, will be removed
New outside unit for AC, supplied by another vendor
Circuit breaker panel, rated for outdoors
25KVA Transformer

## Slide 4
Supply panel PDP-3
480V supply panel
old transformer
breaker for transformer

## Slide 5
HCRO main power distribution
old transformer