## Slide 1: ALPACA at HCRO

## Slide 2
Fiber cable run:
all underground in 3 inch conduit
from Lab 1 to feed location 530 meter
total length including spare 580 meter
DSP location
Main Office
Feed /Dome location

## Slide 3
DSP Location:
planned AC capacity 8 ton
hot and cold isle (left side cold, right side hot)
6x L6-30amp outlets already installed
L6-30 outlets
Rack location
Fiber conduit

## Slide 4
Feed Location:
3phase 480V and 120/208V
planned to set up new shed
planned to have radome for feed
Shed location to house feed
Power & Fiber
Dome