## T14-15 Trace Record
Cooled Feed Noise Record
| Feed: 5C4-002-A |  | Date: 2015-08-19 |  |  | Configuration: | 30-29-200-B 5C4 Chassis, Borosilicate Glass, Low Vibration Cryo Mount, Capacitor Board and Beryllium Copper Traces
X-pole : 0055A Chalmers
| Temp(K) | Vm | Vg | Vd | Id | Noise / Data | Comments
1 | 67.3 / 76.8 / 240w | -0.5 | 0.09 | 1.2 | 25.4 | X1 | bias set by Jon in control room h-load temp 305.6C
2 | [6 empty] | good noise # 10-6dB
Y-pole : 0062A Chalmers
| Temp(K) | Vm | Vg | Vd | Id | Noise / Data | Comments
1 | 67.4 / 76.5 / 240w | -0.5 | -0.01 | 1.2 | 25.2 | Y1 | bias set by Jon in control room h-load temp 304.4C
2 | [6 empty] | very good noise # 10dB+
Antenna 4J